## Slide 1
WELCOME
10TH NATIONAL LEVEL TECHNICAL PROJECT EXHIBITION & COMPETITION
about
components
survey
SRISHTI 2024

## Slide 2
about
Components
survey
PROLONGED PRESERVATION OF HUMAN LIVER USING NORMOTHERMIC MACHINE PERFUSION PROCESS

## Slide 3
about
components
survey
Cleaning and Filtering the organ Basin before and after it is used to preserve the organ.
Organ Basin
Cleanser Unit
Hold the Organs and protects the organs from Physical Trauma.
Cleaning and Filtering the organ Basin before and after it is used to preserve the organ.

## Slide 4
Responsible for Managing and Supplying Power to Machine Perfusion Process.
Air Filters remove the Carbondioxide and other waste gases from the perfusion System
Air Filters remove the Carbon-di-oxide and other waste gases from the perfusion System
AIR FILTERS
Responsible for Managing and Supplying Power to Machine Perfusion Process.
PMS UNIT
Heaters
Keep the organs at a specific Temperature during Transportation from the donar to the Recipient

## Slide 5
Medical Device designed for Extracorporeal Life Support Systems(ECLS) such as Extracorporeal Membrane Oxygenation(ECMO)
store and Protect the Liver during Transportation from the donal to the recipient.
Store and Protect the Liver during Transportation from the donal to the recipient.
Reservoir
ROTAFLOW PUMP
Medical Device designed for Extracorporeal Life Support Systems(ECLS) such as Extracorporeal Membrane Oxygenation(ECMO)
IV INFUSION PUMP
Deliver a Therapeutic solutions to the Preserved organs ensuring it receives essential Nutrients and Medications to maintain its Function during the Perfusion Process.

## Slide 6
Medication Probe
Dilate the Blood vessels and improve Blood Flow through the organ
PV Infection
The discarded human organ is connected to perfusion machine through its blood vessels,Including the portal vein.
HA Infusion
It reduces the Inflammation and oxidative Stress during Organ Preservation,potential improve Organ function.

## Slide 7
AUXILIARY PORT
Allow medical Professional to take Samples of the Perfusion Solution
Used to connect Various Monitoring devices to measure parameters such as Oxygen levels,Pressure and Temperature.

## Slide 8
about
Components
Survey
1-Day
3.5%
30-Day
8.6%
1-Year
0.9%